## Slide 1: Antoine Rocher (EPFL)
Postdoc –antoine.rocher@epfl.ch
GDR CoPhy, Lyon, May 22nd 2024
4MOST Cosmology Redshift Survey (CRS)
www.4MOST.eu

## Slide 2
VISTA telescope (4m) at Paranal Observatory, Chile
  Hexagonal field of view ~ 4.2 deg2
Fibre fed spectroscopic instrument - 2436 fibers:
  Reconfiguration time < 2 min (during CDD readout)
5-year survey over most of the Southern sky resulting in more than 20 million spectra
=> Start of operations: spring 2025
4MOST: Wide-field, high-multiplex optical spectroscopic survey facility for ESO / VISTA

## Slide 3
4MOST: Wide-field, high-multiplex optical spectroscopic survey facility for ESO / VISTA
Patrol radius ~ 11.8 mm (~200 arcsec on sky)
Closest separation ~ 15 arcsec
Accuracy of fibre positioning < 0.2 arcsec on sky

## Slide 4
4MOST: Wide-field, high-multiplex optical spectroscopic survey facility for ESO / VISTA
Patro radius ~ 11.8 mm (~200 arcsec on sky)
Closest separation ~15 arcsec
Accuracy of fibre positioning < 0.2 arrsec

## Slide 5
Credit: ESO, 4MOST consortium
3 arms spectrograph - 3 CCDs 6k x 6k - 200 mm beam size
812 science fibers per spectrograph (2 LR + 1 HR)
LR spectrographs were designed and built at CRAL in Lyon.
4MOST: Wide-field, high-multiplex optical spectroscopic survey facility for ESO / VISTA

## Slide 6
4MOST: Wide-field, high-multiplex optical spectroscopic survey facility for ESO / VISTA

## Slide 7: 4MOST: Observing strategy
Unique operations model => Suitable for most science cases
4MOST program defined by Public Surveys of 5 years
  Consortium (~70%)
  Community (30%)
All Surveys will run in parallel
  Surveys share fibres per exposure for increased efficiency
Consortium Key Surveys define observing strategy
  Millions of targets all sky
  Fill all fibres

## Slide 8: 4MOST: Science Themes
Galactic Archeology
  Gaia and PLATO
High-energy sky
eROSITA
Galaxy evolution
  VST/VISTA
Cosmology
  Euclid/LSST/SKA
Main scientific drivers for 4MOST:
Gaia follow-up
eROSITA follow-up: clusters of galaxies and AGN
Weak Lensing surveys (Euclid/LSST)
Cosmology with Baryonic Acoustic Oscillations and Redshift Space Distortion (complementary to DESI)
LSST transients follow-up

## Slide 9: 4MOST: 18 different science surveys
10 Consortium
8 Community

## Slide 10
4MOST: Area coverage and target densities for consortium surveys
Low Resolution
Output target density for the 18 surveys
Fibre assignment is computed to optimize the performance of each survey

## Slide 11
4MOST: Area coverage and target densities for consortium surveys
Low Resolution
Output target density for the 18 surveys
Fibre assignment is computed to optimize the performance of each survey

## Slide 12: 4MOST: Cosmology
Cosmology
  Euclid/LSST
Main science purposes:
Weak Lensing: Photo-z calibrations and characterize the foreground ​
Galaxy Clusters: Redshifts evolution and velocity dispersions of Galaxy Clusters ​
SNe Ia: DES/LSST live SNe Ia and host galaxies (50k transients/year)​
BAO and RSD: BGs, LRGs, QSOs, Lyα-forest
Synergies with southern facilities:​
cross-correlation with weak-lensing (LSST/Euclid)​
synergies with radio surveys (SKA)​
synergies with CMB surveys (SPT/ACT)
eROSITA Cluster

## Slide 13: Wide-Area VISTA Extragalactic Survey (WAVES)
2 observation strategies: wide and deep => high redshift completness
Galaxy formation to dwarf satellite scale, halo occupation (nature of DM)
Evolution of mass & energy budget for z<1
Growth of structure on 1kpc-10Mpc scales for z<1
Photometric redshift calibration
Galaxy evolution​
VST/VISTA
PI: S. Driver & J. Liske

## Slide 14: 4MOST: Time Domain Extragalactic survey
Spectroscopic follow up of transient+ host
Can target ~10 events in any given 4MOST pointing
High-energy sky
eROSITA
PI: Isobel Hook

## Slide 15: 4MOST: eROSITA Galaxy Cluster Redshift Survey
Spectroscopic follow up of eROSITA cluster
Survey strategy
  13,000 deg2
  200,000 X-ray clusters
  ~2M galaxies
Primary science goals
  Cluster mass function evolution with redshift
  Evolution of the cluster power spectrum
  Galaxy evolution in dense environments
High-energy sky
eROSITA
PI: Johan Comparat

## Slide 16: 4MOST-Cosmology Redshift Survey : strategy
Primary science goal: Constrain Dark Energy and General Relativity by measuring cosmic expansion history and growth of structure using different tracers:
  ~1.5M Bright Galaxies z<0.4
  ~ 3.5M Luminous Red Galaxies 0.4>z>1
  ~1.5 M Quasars (QSO) 0.9<z<2.1+ QSO-Lya 2.2<z<3.5
Hard to be competitive with DESI/Euclid for BAO/RSD measurements in terms of number of targets and timeline of the survey
  => Try to be complementary to DESI:
  + Concentrate on redshifts z<~1 and z>2.4 to complement Euclid
PI: J. Richard & J-P Kneib

## Slide 17
4MOST-CRS: Legacy Survey DR10
new imaging from DECam into the "southern" (Declination ≤ 32.375°) Legacy Surveys footprint
DECAM (Legacy Surveys) provides the best quality of imaging to select targets (until we have access to LSST)​
=> Switch from VHS to Legacy Survey DR10 to refine the target selection​
=> Create galaxy samples similiar to DESI (for BG and LRG)​
=> Take advantage of DESI TS performance

## Slide 18
4MOST-CRS:
Bright galaxies & Luminous Red Galaxies
Area:
  LRG ~7000deg2
  BG ~ 5600deg2
BGs cut at dec <20°​
=> DESI should go down to dec –20° for BGs
LSST area

## Slide 19
4MOST-CRS: BG & LRG Target selection
Similar to the DESI TS but using Legacy survey DR10
+ Additionnal color cuts to reduce the target density:
BG ~860/deg2 (DESI) => ~250/deg2:
  Remove lowest redshift part z<0.1
  r magnitude cut > 19

## Slide 20
4MOST-CRS: BG & LRG Target selection
Similar to the DESI TS but using Legacy survey DR10
+ Additionnal color cuts to reduce the target density:
BG ~860/deg2 (DESI) => ~250/deg2:
  Remove lowest redshift part z<0.1
  r magnitude cut > 19
LRG ~605/deg2 (DESI) => ~400/deg2:
  Remove the tail at high redshift z>1
  Shift the color selection in a redshift independent way

## Slide 21
4MOST-CRS: QSOs
Area: ~7000 deg2
2 different photometric surveys:
  ATLAS (information from the u-band)
  LS DR10
LSST area

## Slide 22
4MOST-CRS:
Angular Clustering and Limber Scaling Test
BG angular clustering in magnitude slices
Behnood Bandi
Preliminary

## Slide 23
4MOST-CRS:
Angular Clustering and Limber Scaling Test
LRG angular clustering
Behnood Bandi
Preliminary

## Slide 24: Next steps
4MOST almost ready:
  waiting for decision to ship from Potsdam to Paranal
Planned start of operations => spring 2025
1st data release (survey validation data) expected 6 months latter (end 2025)
Then ~ 1 data release per year
=> Lots of exciting sciences incoming (not only for cosmology)

## Slide 25: Thank you

## Slide 26
4MOST-CRS:
Bright galaxies & Luminous Red Galaxies

## Slide 27
Primary science goal: Constrain Dark Energy and General Relativity by measuring cosmic expansion history and growth of structure using different tracers:
4MOST-Cosmological Redshift Survey (CRS)
target | imaging | redshift range | density
BG | LS DR10 | 0.1<z<0.4 | 250/deg2
LRG | LS DR10 + WISE | 0.4<z<1 | 400/deg2
QSO | LS DR10 +ATLAS+WISE | 0.9<z<2.2 | 190/deg2
QSO-Lya | LS DR10 +ATLAS+WISE | 2.2<z<3.5 | 50/deg2