## Slide 1
The DESIR facility at GANIL/SPIRAL2
Bertram Blank
L2Pi Bordeaux
Séminaire IJCLab, 13/12/2024
27-29 November 2024

## Slide 2
« Decay , Excitation and Storage of Radioactive Ions »
Exotic decay modes Shape, size, structure of the nucleus Mass, correlations
A new GANIL users facility
Study of the fundamental properties of atomic nuclei and underlying forces
With a high precision using ultra-pure samples of radioactive ions manipulated at very low energy
Taking advantage of the various RIBs production methods
In complementarity to S3(-LEB) and other GANIL installations
• • • DESIR at GANIL

## Slide 3
S3 (2026)
Fusion-évaporation
SPIRAL1 (2001)
Fragmentation
GANIL
SPIRAL2
DESIR
Building delivery: mid-2025
Commissioning (stable beams): 2027
Day 1 experiments (RIBs): 2028
2028
• • • DESIR at GANIL

## Slide 4
(Super) Heavy nuclei
N~Z
Fundamental interactions
Nuclear structure
  Fusion-evaporation
  Fragmentation
Exotic decay modes
Size & Shape
Deformation
SPIRAL 1
S3-LEB
Collinear laser-spectroscopy
Correlations in b decay (MORA)
Mass meas. (PIPERADE, MLLTrap)
(Trap-assisted) decay spectroscopy
DETRAP
LUMIERE
BESTIOL
• • • DESIR physics programme

## Slide 5
• • •
Beam production

## Slide 6
• • • SPIRAL1 beams
FEBIAD
for condensables
MonoNaKe
for alkalines
Nanogan
for gases
TULIP
for proton-rich
isotopes
Fragmentation (and fus-eva) of heavy primary beams
Limitations:
primary beam power
fragmentation cross sections
diffusion/effusions times (refractory elements, short half-lives)
ionisation efficiency
operational issues (stability, resilience etc.)
Courtesy P. Chauveau

## Slide 7
• • • S3-LEB beams
Courtesy V. Manea
Critical performance criteria :
  Stopping efficiency
  Extraction efficiency and time
  Chemical survival/neutralization efficiency
S3 nuclei
Buffer gas at 100-500 mbar
Stopping, thermalization
and neutralization
Supersonic jet
Extraction by gas flow only
Decoupling of laser axis from spectrometer axis
Gas cell laser probing
Gas jet laser probing
Thin window
E< 1 MeV/u
S3-LEB
(Low Energy Branch)
R. Ferrer, Nature Comm. 8 14520 (2017)

## Slide 8
• • • S3-LEB beams: FRIENDS3
Courtesy V. Manea
Simulations
ANR JCJC project FRIENDS3 aimed at improving the S3-LEB gas cell:
  Reduce extraction time
  Improve neutralization efficiency
  Ideally both at the same time
Construction of test bench
Test-bench design study finalized, constructed in 2024
Will be installed at GANIL for laser access
Exploration of direct ion extraction by electrical field

## Slide 9
• • • DESIR beams: S1 & S3 (& S2)
DESIR beams:
S1: fragmentation
S3: fusion-
evaporation
DESIR beams:
S1: fragmentation
S3: fusion-
evaporation
S2: fission
Multi-nucleon
transfer reactions

## Slide 10
• • •
Beam transport

## Slide 11
Base assembly
Insertion
Pole assembly
Internal part
Upper part
Example: 45° deflector assembly
SPIRAL1
DESIR Hall
V. Watt-Morel, GANIL
L. Perrot et al., IJCLab
SP1 -> DESIR beam line
Junction beam lines from SPIRAL1 and S3-LEB to the DESIR Hall: ~100 m
Installation starting by the end of 2025
1+ ions, < 60 keV, < 80 p.mm.mrad – fully electrostatic
Ph. Alfaurt, LP2iB
Test bench
• • • Transport beam lines

## Slide 12
• • • Transport beam lines
Junction S3-LEB / DESIR
SPIRAL1
(magnetic section)
Distribution lines
GPIB
(LP2IB)
PIPERADE (LP2IB)
RFQ1P (LPCC)
HRS (LP2IB)
MLLTRAP (IJCLab)
MORA (LPC)
Stable source
Laser
SPIRAL -> DESIR section
- Ongoing installation (mechanical assembly, supply integration tests, …)
- Operation tests scheduled middle of 2025
- LP2IB/GANIL: process supplies, remote control systems…
First DESIR (electrostatic) section
Integration tests
Courtesy V. Watt-Morel, GANIL

## Slide 13
• • •
Beam preparation and purification

## Slide 14
RFQ-Cooler Buncher
GPIB
Double Penning Trap
RFQ Cooler
High Resolution Separator HRS
Mass separation/beam purification:
0
RFQ+HRS
Piperade
trap
Beam preparation:
Cooling and bunching
Accumulation trap
Mass measurements:
Mass precision: 10-8 – 10-9
GPIB
Piperade
2nd trap
Piperade
2nd trap
• • • Beam preparation and purification
MR-ToF
MR-ToF
Piperade
2nd trap

## Slide 15
RFQ + HRS
M/ΔM =20,000 @
3π mm.mrad / 30keV
GPIB + PIPERADE
  105 ions/bunch, 2-20 Hz M/ΔM = 105
Installation and commissioning: 2026-2027
MR-ToF-MS for mass measurements and beam purification: 2026-2028
Commissioning at LP2iB
Refurbishment
at LPC Caen
Commissioning at LP2iB
• • • Beam purification

## Slide 16
• • • Beam purification: RFQ SHIRaC
SHIRaC : Construction and test @ LPC Caen
Beam
HT platform 60 kV
RF Electrical Field: 500V/m
Beam
6 m
5m
1,5 m
SHIRaC
RF: 2.1-4.9 MHz; Vpp: 8kV
Emittence: ~3π mm.mrad
DE ~eV
Transmission ~70 % for 1eµA beam
…presently refurbished at LPC
(according to RFQ cooler of SPES)
R. Boussaid et al., PRCST 18 (2015) 072802

## Slide 17
• • • Beam purification: Ion source, GPIB, PIPERADE and HRS at LP2i Bordeaux
Ion source

## Slide 18
• • • Beam purification: High-resolution separator HRS
M/ΔM =20 000 @ 3π mm.mrad / 30keV
J. Michaud et al., LP2iB & IJCLab
Configuration: MQ-MQ-FS-FQ-D-M-D-FQ-FS-MQ-MQ
T. Kurtukian Nieto et al., NIMB 317 (2013) 284

## Slide 19
• • • Beam purification: High-resolution separator HRS
J. Michaud et al., LP2iB & IJCLab
ions source
Pepperpot-type
emittance-meter
Electrostatic multipole
Magnetic
dipole
Electrostatic
deflector
Electrostatic
quadrupole
Electrostatic
sextupole
Beam profiler
Faraday cup
Adjustable slits
Vaccum valve
DC11-HO
DC11-VE
Q11
Q12
Q13
PR21
F21
CF21
Q21
Q22
DC21-HO
DC21-VE
F22
CF22
PR22
Q23
H21
F31
D31
D32
F32
Q41
H41
DC41-VE
DC41-HO
PR41
F41
CF41
Q43
Q42
F42
CF42
PR42
PR31
PR32

## Slide 20
• • • High-resolution separator 2nd order correction measurements
J. Michaud et al., LP2iB & IJCLab
-> Shifted left -0,2G
-> Shifted right +0,2G
Beam can be scanned with the dipoles through end slits to obtain a precise beam profile
Not corrected
Overcorrected
Corrected
133Cs: 1mm x 1mm
J. Michaud et al., NIMB 541 (2023) 161
48-rod
multipole

## Slide 21
• • • High-resolution separator HRS: emittance meter
J. Michaud et al., LP2iB & IJCLab
14/12/2024
Front view: tantal mask
Side view:
Phosphore screen + MCP
Front view:
CCD camera
Pepperpot
emittance-meter

## Slide 22
• • • High-resolution separator HRS: emittance figures
J. Michaud et al., LP2iB & IJCLab
Experimental measurements correspond to simulations
2nd order aberrations can be observed with the emittance-meter
Order 3: Not by eye, but a computer could
Image analysis software under development
(A. Balana)
J. Michaud et al., NIMB 541 (2023) 161

## Slide 23
• • • High-resolution separator 2nd order correction measurements
J. Michaud et al., LP2iB & IJCLab
-> Shifted left -0,2G
-> Shifted right +0,2G
Beam (1mm x 1mm) can be scanned with the dipoles through exit slits to obtain a precise beam profile
Not corrected
Overcorrected
Corrected
133Cs: 1mm x 1mm
Pepperpot emittance figures

## Slide 24
• • • High-resolution separator 3rd order correction measurements
J. Michaud et al., LP2iB & IJCLab
Beam (1mm x 1mm) can be scanned with the dipoles through exit slits to obtain a precise beam profile
Hard to see a change, but a computer should
133Cs: 1mm x 1mm

## Slide 25
• • • High-resolution separator HRS: arbitrary waveform generator
COSY Infinity
J. Michaud et al., LP2iB & IJCLab
Create custom beam contaminants
The HRS can be commissioned in almost real operating conditions, with no radioactive beam and (relatively) high intensities
Period = 5
Period = 5
Period = 1
Period = 0.2
J. Michaud et al., NIMB 541 (2023) 243

## Slide 26
• • • High-resolution separator HRS: arbitrary waveform generator
100Sn/100In separation:
simulation and measurement
COSY Infinity
J. Michaud et al., LP2iB & IJCLab
J. Michaud et al., NIMB 541 (2023) 243
COSY

## Slide 27
• • • High-resolution separator HRS: arbitrary waveform generator
100Sn/100In separation:
simulation and measurement
COSY Infinity
J. Michaud et al., LP2iB & IJCLab
J. Michaud et al., NIMB 541 (2023) 243
To-do list:
shaping of exit (1st dipole) and entrance (2nd dipole) poles
 fixed hexapole corrections
optimising of 3rd and higher orders
implementation of automatic higher-order corrections
NMR measurement reliability improvement

## Slide 28
• • • Beam preparation: General purpose ion buncher GPIB
Emittance:
.mm.mrad at 30 keV
Continuous mode:
Transmission for K+ ions is routinely over 75 %
Careful optical tuning yields transmission >90 %
Bunching mode:
100 % transmission up to 106 ions/bunch
50 % transmission with 108 ions/bunch
Energy and time dispersion:
Energy dispersion measurement currently limited by detection
system (< 6 eV)  Magnetof
Minimum time dispersion currently down to 250 ns (FWHM) at 3 keV
M. Gerbaux, C. Roumegou et al., LP2iB
M. Gerbaux et al., NIMA 1046 (2023) 167631
To-do list:
- Magnetof for energy dispersion (avoid efficiency issues) - Transverse emittance measurements in bunching mode - RF phase dependence for the bunches - Bunching mode to be investigated in detail (energy vs time dispersion) - Space charge effects - coupling to HRS ?

## Slide 29
• • • Beam purification: PIPERADE, 1st trap
purification trap accumulation & measurement trap
7T
Resolving power:
First trap:
39K
P. Ascher et al., NIMA1019 (2021) 165857
P. Ascher, M. Flayol, D. Atanasov,
E. Rey-herme, G. Guignard et al., LP2iB

## Slide 30
• • • Beam purification: PIPERADE, 2nd trap
accuracy:
precision:
accuracy:
precision:
purification trap accumulation & measurement trap
7T
P. Ascher et al., NIMA1019 (2021) 165857
PI-ICR
P. Ascher, M. Flayol, D. Atanasov,
E. Rey-herme, G. Guignard et al., LP2iB

## Slide 31
• • • PIPERADE: Mass measurement of 41K with ToF-ICR
measured with 39K as reference
ToF-ICR of 1 s
P. Ascher, M. Flayol, D. Atanasov,
E. Rey-herme, G. Guignard et al., LP2iB

## Slide 32
• • • PIPERADE: PI-ICR
xd
yd
=
Précision à
r
Cyclotron réduit
Magnétron
Centre
position-
sensitive
MCP

## Slide 33
• • • PIPERADE: PI-ICR
To-do list:
January 2025: diaphragm change for a smaller diameter hole
(reduction of gas leaking from PT to MT)
before moving to DESIR:
  systematic studies of ToF-ICR, impact of field imperfections
  (anharmonicities of E-field and fluctuations of B-field) on mass precision,
  mass-dependent errors, ion-ion interaction
  PI-ICR mass measurement and systematic studies
  (imperfections E/B fields + image distortion + extraction optimisation)
  PI-ICR cleaning: installation of an iris to select the ion of interest
  Buffer gas cooling technique: limits in terms of trapping times and
  investigation vs number of ions
if AC not OK at DESIR: pressure/temp stabilisation system to implement
commissioning at DESIR: all systematics to study again

## Slide 34
• • •
Installation of experimental equipment

## Slide 35
S2 - 2026: GPIB + PIPERADE + fluorescence laser line (LINO)
• • • Experimental equipment: time line
LINO
Diag. box
Beams
Id. Station
PIPERADE
GPIB

## Slide 36
S1 - 2027: MORA cooler-buncher (RFQ)
• • • Experimental equipment: time line
LINO
RFQ (MORA)
Diag. box
Beams
Id. Station
PIPERADE
GPIB

## Slide 37
2028: MORA completed, MR-ToF-MS, decay stations
End of 2028: RIBs available
• • • Experimental equipment: time line
PIPERADE
MR-ToF-MS
LINO
Decay station
Decay station
Id. Station
MORA
Beams
GPIB

## Slide 38
PIPERADE
MR-ToF-MS
GPIB
LASAGN
Decay station
Decay station
Id. /Decay
Station
MLLTRAP
2029: collinear laser spectroscopy (LASAGN) completed, MLLTrap
MORA
• • • Experimental equipment: time line
Beams

## Slide 39
RFQ-CB associated with a Paul trap
-> b-n angular correlation coefficient
-> D correlation with laser polarized beams
MLLTrap
E. Minaya-Ramires et al., NIM B 463 (2020) 315
P. Chauveau et al., NIMB 463 (2020) 371
e- pixel
detector
Nuclear structure & Decay properties
  shell evolution, deformation
  (super-) heavy nuclei decay spectroscopy
Commissioning at ALTO (IJCLab)
MORA
Fundamental interaction physics
  exotic currents, CVC, Vud, CP-violation
Commissioning at JYFL
P. Delahaye, GANIL, L. Hayen, X. Fléchard, LPC Caen
P. Thirolf, LMU Munich – E. Minaya Ramirez, IJClab
P. Delahaye et al., Hyperfine Interaction 240 (2019) 63
Double Penning trap
-> high precision mass measurements
-> in-trap decay
• • • The DEsirTRAPping facility

## Slide 40
Laser Utilization for Measurement and Ionization of Exotic Radioactive Elements
LASAGN (L. Lalanne, IPHC)
Collinear laser spectroscopy (CRIS like)
  -> hyperfine structure (magnetic and quadrupole moments, mean square charge radii)
LINO commissioned at ALTO, IJCLab, D. Yordanov et al.
• • • The LUMIERE facility
LINO
MT, FC
DP
IR
IU
CRIS

## Slide 41
BEta decay STudies at the SPIRAL2 IsOL facilty
Beam cooling and purification using PIPERADE for (trap-assisted) decay spectroscopy
-> High-precision measurements with ultra-pure samples for
fundamental interaction, nuclear structure, nuclear astrophysics etc
b-g decay stations (BEDO, …)
total absorption spectrometers (DTAS)
neutron detection arrays (BELEN, MONSTER, …)
electron and proton detection (COeCO, SiCube, b-STILED
recoil detection (ASGARD)
for
CVC, Vud
beta shapes
lifetimes, P(2)n
exotic decays (b-2p, cluster emission)
Gamow-Teller strength
DTAS
SiCube
COeCO
BELEN
BEDO
MONSTER
• • • The BESTIOL facility
ASGARD
b-STILED

## Slide 42
• • • DESIR C/C
L. Daudin et al.

## Slide 43
• • • The DESIR building
Building delivery: September 2025
October 2025 to September 2026: Beam line & experiment installation
June 2026 to January 2027: Cabling
October 2026 to June 2027: Technical commissioning
March to October 2027: Stable beam commissioning
November 2027: Facility ready for radioactive beams

## Slide 44
• • • DESIR construction
HRS room
Thermal isolation of roof
Soil refilling
DESIR hall

## Slide 45
• • • DESIR time line
… 2018 2019 2020 2021 2022 2023 2024 2025 2026 2027 ...
Autorisation de modification INB 113
Autorisation de mise en service
Etudes et consultation des entreprises
Construction
Conception, fabrication et qualification technique
Installation / mise en service
Décret
Décision ASN
Enquête Publique
Bâtiment et infrastructures
Procédés (PRO-F, -E, -SE, -SYS, -SNC)
Autorisations administratives
MSNR (ASN et AE)
DAM
DMES
PC
Réception
Dépôt DMES
DECRET
Non-conformité Bâtiment
Décision ASN
Moyens communs
Décision ASN

## Slide 46
• • •
Thanks for your attention