## Slide 1: EICROC0 Measurements update
06/17/2024
Adrien Verplancke

## Slide 2: Summary
Test setup
S-Curves
ADC
TDC
Conclusion

## Slide 3: Test setup : EICROC0 cards
“Classical” test setup with FPGA + EICROC0 PCBs
2 flavors of cards used
  EICROC0 2.2 (ASIC with no sensor)
  EICROC0 2.3B (ASIC with sensor)
  Both cards are from the latest batches of PCBs
Latest firmware (with 160MHz clock fix)
EICROC0 2.2 plots shown for correction values @ 5 fC
EICROC0 2.3B plots shown for correction values @ 5 fC
  Sensor is depleted

## Slide 4: Channel linearity for channel 0
With Sensor
Without Sensor
cP = 1
cD = 00 (all channels)
cP = 1
cD = 00 (all channels)

## Slide 5: S-Curves @ 5 fC
With Sensor
Without Sensor
cP = 1
cD = 00 (all channels)

## Slide 6: S-Curves @ 25 fC
Without Sensor
Large spread of S-Curves
Correction values are not adapted for the whole charge range
cP = 1
cD = 00 (all channels)

## Slide 7: ADC : Channel 0
With Sensor
Without Sensor
cP = 1
cD = 00 (all channels)

## Slide 8: TDC
With Sensor
Without Sensor
cP = 1
cD = 00 (all channels)

## Slide 9: Conclusion
Good performance without sensor
Issues to fix :
  Correction values not uniform for entire charge range
  TDC “artefacts”
  ASIC can’t handle large amounts of data