## Slide 1: Bilan X-ray
Shift 26/11/2024

## Slide 2: Shift VS phase
Phase :
4,45V
~= 115°
Phase :
5,45V
~= 154°
Phase :
6,45V
~= 181°
Phase :
7,45V
~= 198°

## Slide 3: Résultats fit et position Vs delay
Phase shifter response
Position of beam VS delay (e-/laser)

## Slide 4: Issues to be adressed/discussed
X-ray beam position
Beam on right of the tube (left downstream)
 electron beam direction defect:
  Incorrect orbit
  Incorrect interaction point position (in dipole field)
  Else ?
X-ray beam position shift with phase
 electron beam direction defect:
  Incorrect interaction point position (in dipole field)
  Incorrect electron beam path (residual dipole field between dipole)
  Incorrect beam shape ? Cm scale ?
  Else ?

## Slide 5: geometry
~200mm
Axe CFP (2°)
Main X-ray direction (to be confirmed)