## Slide 1: Fission Studies at LANSCE with the Chi-Nu and VENDETA
M Devlin, P-3,
Los Alamos National Laboratory
March 10, 2026
LA-UR-26-21614

## Slide 2: Outline
Intro
Fission Spectra
History
Chi-Nu
VENDETA
What is next?

## Slide 3: LANSCE: The Los Alamos Neutron Science CEnter
An
An 800 MeV proton LINAC with 5 facilities, two of which are used for nuclear physics measurements, the Lujan Center and WNR

## Slide 4
Flightpath 15L at WNR
WNR has 6 flightpaths, and Chi-Nu + VENDETA use 15L
The neutron flux is Highest at a few MeV, but extends from 10 keV to 100s of MeV
15L has a target station at 21.5m, with a false floor and ‘get lost’ pit

## Slide 5
Slide shown by KJ Kelly at a workshop in Santa Fe (2020).
LANL CEA Collaboration

## Slide 6
First Prompt Fission Neutron Energy and Multiplicity Measurements
Used the FIGARO detector array, which had 6-8 liquid scintillator detectors, not all of which worked well

## Slide 7
Since 2020
VENDETA
Chi-Nu
2020
2022
2024
2026
239Pu(n,f) nubar (P Marini et al., PLB 2022)
235U(n,f) PFNS (B Mauss et al., PRC 2025)
CEA/NNSA PFNS results comparison for 239Pu (KJ Kelly et al., NDS 2021)
239Pu(n,f) PFNS (P Marini et al., PRC 2020)
240Pu(n,f) PFNS (tbd)
238U(n,f) PFNS (KJ Kelly et al., PRC 2023)
240Pu(n,f) PFNS (KJ Kelly et al., PRC 2024)
240Pu(sf) PFNS (O Syrett et al., (tbp)

## Slide 8
Chi-Nu – Two Neutron Detector Arrays
Neutron detectors:
Li Glass Array
40cm from the target position
22 6Li Glass Scintillators
EJ309 Liquid Scintillator Array
1m from the target position
54 detectors
Fission detector:
10-cell PPAC built at LLNL
for each actinide
Chi-Nu Liquid Scintillator Detector Array

## Slide 9
Chi-Nu Prompt Fission Neutron Spectra (PFNS) Measurements
c
LANL+LLNL
  235U(n,f) PRC 105, 044615 (2022)
  239Pu(n,f) PRC 102, 034615 (2020) and PRL 122, 072503 (2019)
  238U(n,f) PRC 108, 024613 (2023)
  240Pu(n,f) and 240Pu(sf) PRC 109, 064611 (2024)
  242Pu(sf) to be published
CEA+LANL
  239Pu(n,f) PRC 101, 044614 (2020) and PLB 835, 137513 (2022)
  235U(n,f) PRC 111, 044611 (2025)
  238U(n,f) EPJ WoC 193, 03002 (2018)
  240Pu(sf) with VENDETA, to be published

## Slide 10
PFNS for 239Pu(n,f)
LANL+LLNL data in black and red, CEA+LANL data in blue, Lestone (1.5 MeV) in green
Ratio to a Maxwellian
Incident neutron energy spectra range of 1-20 MeV
Compared to ENDF/B-VIII.0 at bin edges

## Slide 11
Another View of These Data

## Slide 12
240Pu(n,f) PFNS
First measurement of these PFNS above 0.85 MeV
Used a 12-cell Parallel Plate Avalanche Counter from LLNL for fission detection
Incident neutron energies up to 20 MeV
Uncertainties are limited by the a background beneath the fission trigger

## Slide 13
VENDETA
72 liquid scintillators, slightly smaller than the Chi-Nu detectors
1m from the target position
Improved photocathode for higher output
Improved timing

## Slide 14
VENDETA compared to Chi-Nu
Chi-Nu
PSD
VENDETA
Efficiency

## Slide 15
239Pu(n,f) nubar Measurement
Unfolding the number of neutrons detected following a fission event can produce a neutron number distribution
With the Chi-Nu efficiency, ~10%, the resulting distribution is well enough constrained to produce an average neutron number, nubar

## Slide 16
235U(n,f) PFNS recently published
Used Chi-Nu + CEA fission chamber and daq

## Slide 17
240Pu(sf) PFNS with VENDETA
O. Syrett et al., to be published
Measurement performed at LANSCE over about 8 months, using VENDETA and a CEA fission chamber
The planned in-beam 240Pu(n,f) PFNS measurement did not run due to the lack of LANSCE beam
VENDETA now returning to CEA
240Pu(sf) | nubar | Eave
Gerasimenko | - | 2.044(36) MeV
Evaluation | 2.154(5) | -
New results | 2.139(2) | 2.005(2) MeV

## Slide 18
What’s next?
233U(n,f) PFNS with Chi-Nu (2026 – delayed from 2024)
240Pu(n,f) PFNS with VENDETA, when LANSCE beam improves

## Slide 19
What’s next?
237Np(n,f) and 242Pu(n,f) PFNS have been mentioned, but no support yet
Neutron scattering, etc [Inelastic, elastic, (n,2n),…]
Other suggestions?

## Slide 20
Collaboration
LANL
Keegan Kelly
John O'Donnell
Denise Neudecker
Bob Haight
Pat Copp
Jason Surbrook
LLNL
Ching-Yen Wu
Roger Henderson
CEA
Julien Taieb
Benoit Mauss
Audrey Chatillon
Pierre Mourfouace
Owen Syrett
David Etasse