## Slide 1: SOLEIL Timing and synchronization System
2025-12-17
AI-DIA-PST-I-2168

## Slide 2: SOLEIL
2025-11-07

## Slide 3: SOLEIL
The staff is about 370 persons + 2500 researchers / year
SOLEIL is a research center that produces and uses synchrotron light.
This ultra-bright radiation is 10,000 times brighter than that of the sun.
It is used to study samples and materials in order to find out more about their structure and properties. The extreme brightness of SOLEIL will make it possible to make observations on a submicronic scale on materials.
SOLEIL is among 40 major scientific establishments in France.

## Slide 4: SOLEIL
Booster 110 MeV
Storage ring 2,75 GeV, 354 meter circumference
Electron cannon
Laboratory
29 Beamlines
LINAC
16 meter long

## Slide 5: SOLEIL

## Slide 6: SOLEIL
Agribusiness
Biology
  Origin of life - The natural asymmetry of biomolecule
Cosmetics
Chemistry
Electronic
  A major advance in microelectronics: The production of graphene semiconductor nano-ribbon
Buildings - Public works
Transport
Materials
  SOLEIL sheds light on the secret of the Stradivarius varnish
Medicine
  Liver transplants - SOLEIL synchrotron offers a safer method of deciding in a few minutes if a donor liver can be transplanted
  Huntington’s disease - The structure of inclusions in patients’ brains revealed by IR microspectroscopy
  Diagram of the hepatitis c virus
Energy
Environment and eco-industries
Etc.

## Slide 7: SOLEIL
Filling modes

## Slide 8: SOLEIL
Top-up
Top-up injection
501 mA
497.7 mA
#2 - 5 mn
#2 - 5 mn
Current in the storage ring
Top-up injection
Top-up injection
Top-up injection

## Slide 9: Machine timing system

## Slide 10: Soleil timing system
Machine synchronization system
Beam lines synchronization system
RF

## Slide 11: Machine timing system
Current system
  The current system is based on master/slaves event architecture developed by subcontractor for SOLEIL.
  It has been very reliable since 2006.
The aim of the machine’s timing system of Soleil:
  To trigger all devices (LINAC, Kicker, Septum, etc.) needed to bring electrons from the LINAC to the storage ring.
  To fill the storage ring with a specific pattern defined by users.
  To manage the top-up mode.

## Slide 12: Machine timing system
TIMPO II
2.94 Hz
RF_DIV
176 MHz
CLK-RF
352.202MHz
REP_OPT
REP_OPT
Vers cartes LOCAL
R
é
s
e
a
u
REP_OPT
REP_OPT
REP_OPT
Fibre optique
230V
50 Hz
LOCAL LINAC
LOCAL
Vers cartes LOCAL
Vers cartes LOCAL
Vers cartes LOCAL
Machine Timing System
CENTRAL

## Slide 13: Machine timing system
Greenfield Technology system
LOCAL
LOCAL
CENTRAL
Tinj (#20ms)
Text (#170ms)
Tinj + 0
Tinj + 96 ns
Text + 133ns
Text + 0
Dual delay system:

## Slide 14: Machine timing system
CENTRAL system
  Broadcast the events (pre-charge, injection, extraction, continuous trigger, software on demand).
  Broadcast the clocks (booster, storage ring).
  Manage the injection / extraction cycle.
  User configurable delay for events (steps of 1/CLK-BOO #522 ns)
  256 events

## Slide 15: Machine timing system
SR injection Delay | 
¼ SR | bunch
50 | 12
1027 | 595
66 | 14
50 | 32
CENTRAL
bunch delay
12 ; 595 ; 14 ; …
416
Pre charge Delay | BOO injection Delay
00 | 20
LOCAL LINAC
Selection of the bunch inside ¼ of the storage ring with the fine delay inside CENTRAL (and the LOCAL LINAC)
Storage ring injection
LOCALs
Extraction
event
Pre charge
LOCALs
Pre charge
event
Injection
LOCALs
Injection
event
Bunch
delay
event 3
event 2

## Slide 16: Machine timing system
¼ SR delay(1)
¼ SR delay(2)
¼ SR delay(3)
Coherency between ¼ SR delay and bunch delay is warranty by having both of them inside the CENTRAL system
T1 ms
T’1 ms
# 340 ms
T’2 ms
# 340 ms
T2 ms
T’3 ms
# 340 ms
T3 ms
Cycle n°1
Cycle n°2
Cycle n°3
Pré-charge
Injection
LINAC
Extraction
event 1
event 2
event 3
Bunch delay(1)
Bunch delay(2)
Bunch delay(3)

## Slide 17: Machine timing system
LOCAL boards
  Booster and Storage ring clocks outputs.
  8 TTL trigger outputs.
  0 to 340 ms delay adjust by step of 5.64 ns.
  10 µs pulse width.
  Each output’s event and delay can be configured.
  #15 – 25 ps RMS jitter.
  Skew < # ns between boards (fixe).

## Slide 18: Machine timing system
LOCAL LINAC board (SPM)
  Booster and Storage ring clocks outputs.
  1 TTL trigger output.
  0 to 340 ms delay adjust by step of 5.64 ns.
  0 to 357 ns bunch delay adjust by step of # 80 ps.
  10 ns pulse width.
  #15 – 25 ps RMS jitter.
  4 modes.
LPM
SPM

## Slide 19: Machine timing system
Matlab
LabView
Tango Devices

## Slide 20
  1 CENTRAL.
  25 LOCALs.
  1 LOCAL LINAC.
  9 optical splitters
  > #150 duplication boards

## Slide 21: Beamlines synchronization system

## Slide 22: Beamlines synchronization system
Beamlines needs:
  Trigger XP devices synchronously to the electron bunch.
  Top-up gating.
  Laser pomp-probe synchronization.
Machine provides to Beamlines:
  RF signal.
  CLK-SR (Machine clock).
  Pre top-up and beam lost trigger

## Slide 23: Beamlines synchronization system
Pump-probe XP
Pump
Probe
Detector

## Slide 24: Beamlines synchronization system
TimBeL board

## Slide 25: Beamlines synchronization system

## Slide 26: Beamlines synchronization system
Beamlines lasers

## Slide 27: Beamlines synchronization system
Beamlines lasers requirements:
  CLK-RF (CLK-RF harmonic) with phase shift capacity: oscillator.
  CLK-RF / n (88 MHz or 44 MHz) with phase shift capacity: oscillator reference.
  Laser trigger (CLK-RF / 846 = 1 kHz) with configurable delay.
Additional requirements:
  Oscillator and oscillator reference: continuous shift without jump.
  Laser trigger: no hole in the clock.
  Excellent oscillator clocks phase noise of #10 fs.
  Sub picosecond resolution.
 Machine signals and TimBeL are not enough and not good enough

## Slide 28: Beamlines synchronization system
IQ modulator

## Slide 29: Beamlines synchronization system
IQ modulator: TimIQ (https://gitlab.com/ohwr/project/timiq)
The TimIQ system is an IQ modulator allowing to phase shift a radio frequency clock with a resolution of 40 fs and an accuracy of 8 ps. It allows to drive with a high precision lasers oscillators.
352 MHz or 3GHz input
40 fs resolution
8.2 ps peak to peak precision and periodic error with a good repeatability
Less than 300 fs phase noise jitter [10 Hz ; 10MHz] @ 88 MHz
+/- 0.1°C temperature stabilized
Readback of the offset
Real open hardware (KiCAD, FreeCAD, LibreCAD) and open software

## Slide 30: Beamlines synchronization system
Sextant

## Slide 31: Failures

## Slide 32: Failures
Hardware is reliable!
Software system is not!!!
Software
Human errors
Hardware

## Slide 33: SOLEIL II

## Slide 34: SOLEIL II
SOLEIL II:
  40 times smaller, circular electron beam
  Better coherency
  Increase of the flux
L. Hoummi - IPAC 2023

## Slide 35: SOLEIL II

## Slide 36: Timing system upgrade
Fully designed for SOLEIL’s needs
Reliable
Integrated with the control room software
Fully dependent upon Greenfield Technology
Any modification or update must be summited to Greenfield Technology
Expensive
Paid support
Based on WR and adapted by ESRF to be used in synchrotrons
Under continues upgrade and development (WHIST, CITY, next CITY)
Does not depend on any specific manufacturer
Open hardware
Need some additional development to be used at SOLEIL (CITY)
Control software need to be rewrite

## Slide 37: Beamlines timing system upgrade
Beamlines timing system : MACBETH (https://gitlab.com/ohwr/project/macbeth)
Good jitter
Good resolution
Multiple outputs
Flexibility
Etc.
+

## Slide 38: Thank you