## Slide 1: First transport of antimatter in a truck across CERN
Jonathan Morgner
BASE Collaboration
CERN
IJCLab Orsay

## Slide 2: BASE – Collaboration
Institutes: RIKEN, MPIK, CERN, University of Mainz, Tokyo University, GSI Darmstadt, University of Hannover, PTB Braunschweig, ETH Zuerich
Five experiments
9 institutes
~30 collaborators
~10 at CERN
BASE-Mainz: Proton magnetic moment, new technologies.
BASE-CERN: Antiproton magnetic moment, proton/antiproton q/m ratio
BASE-STEP: Transportable antiproton traps
BASE-Hannover/PTB: BASE-LOGIC / QLEDS laser cooling project, new technologies
BASE-HHU: Offline measurements with transported antiprotons

## Slide 3: Matter / antimatter asymmetry

## Slide 4: The Physics
Measurements of Proton/Antiproton Fundamental Constants with high precision
Tests of CPT Invariance
Search for DM and Exotic Interactions
Current most precise tests of CPT invariance with baryons is a BASE measurement (q/m – 16 p.p.t.)

## Slide 5: Comparison of existing CPT tests
16 ppt antiproton-to-proton charge–mass ratio measurement Nature 601.7891 (2022): 53-57.
1.5 ppb antiproton magnetic moment measurement Nature 550, 371-374 (2017)
Towards the first sub 100 ppt measurement
High precision mass spectroscopy
High precision magnetic moment measurements
Antiproton lifetime
10.2 years New J. Phys. 19.8 (2017): 083023

## Slide 6: The AD/ELENA-Facility
ALPHA,
Spectroscopy of 1S-2S in
antihydrogen
ASACUSA, ALPHA
Spectroscopy of GS-HFS in antihydrogen
ALPHA, AEgIS, GBAR
Test free fall weak equivalence principle with antihydrogen
ASACUSA
Antiprotonic helium spectroscopy
BASE, BASE-STEP
Fundamental properties of the proton/antiproton, tests of clock WEP / tests of exotic physics / antimatter-dark matter interaction, etc...
PUMA
Antiproton/nuclei scattering to study neutron skins
TELMAX
Experimental Area for short term experiments with antiprotons
60 Research Institutes/Universities – 350 Scientists – 6 Active Collaborations
antihydrogen
antiprotons

## Slide 7
Axial | 639 kHz
Magnetron | 7 kHz
Mod. Cyclotron | 29.6 MHz
 | 639 kHz
 | 7 kHz
 | 29.6 MHz
E and B field confine the particle in the trap
 Motion can be split into three motional modes:
Related to the free-space cyclotron frequency:
Penning trap
Non-destructive single-particle detection via image-currents

## Slide 8
Apparatus

## Slide 9
No observed loss of Antiprotons
 Pressure in the system
We kept antiprotons from 27th of October 2023 till the 2nd of July 2025
Trapped for 614 days  oldest antimatter ever created on Earth.
4.5 months without loss
4 months without loss
6 antiprotons used during the entire 2024 campaign
Antiproton lifetime
Antiproton lifetime data collected since 2014: > 55 y
We just captured ~300 antiprotons on the 8th of May
Submitted, under revision

## Slide 10
Measurements
Ideally cancels out
 Limited by the magnetic field stability
Determine magnetic moment
Antiproton-to-proton
charge-to-mass ratio
Antiproton
Proton
Compare Antiproton with Proton to test CPT

## Slide 11
cold particle (50mK)
hot particle (1K)
high-fidelity spin state resolution
fidelity at 65%, not useful for measurements
axial trapping potential
Spin state detection
use Stern Gerlach Effect:
Force on antiproton:
Introduce magnetic-field gradient into the trap:
Axial frequency is Spin state dependent:
In our apparatus with :
We need a cold particle to resolve spin state

## Slide 12
2016
2024
Recent game changer is a dedicated cooling trap
 error-rate smaller by a factor of >5000 (PRL 133.5 (2024): 053201)
  Robust 200mK particle preparation in 8 minutes.
Ongoing : phase sensitive methods for higher temperature acceptance.
Dip method (antiproton); C. Smorra et al., Phys. Lett. B 769 (2017) 1–6
Dip method with improved AT electronics at Cooling Trap; B.M. Latacz et al., PRL 133.5 (2024): 053201.
2025
Axial phase methods –
(B. Arndt, P. Geissler, et al.)
Spin state detection

## Slide 13
Analysis Trap - high / Cold
Precision Trap - low / Hot
Cycletime between 15 to 45 min.
Two trap and two particle method
One cold for state detection
One Hot for measuring the
Determine spin state of
Measure of in the Precision Trap
Shuttle particles
Excite spin in Precision Trap
Shuttle particles
Determine spin state of
repeat
Notes: 13

## Slide 14
Lineshape parameter:
Rabi resonance shape:
Convolution with Gaussian:
Each „bin” is average of 20 points, single point takes 15 min
Coherent spin-state spectroscopy
We observe a coherent spin-state with a single antiproton for the first time ever!!
Nature 644, pages 64–68 (2025)

## Slide 15
At Ω/(2π) ≈ 50 mHz and a drive time of 16 s
Inversion 2016: 0.5  Incoherent
Inversion 2023: 0.77  Coherent
Frequency sweep at maximum inversion
FWHM reduced by factor of 16
~77(4) % spin state inversion in the center
Nature 644, pages 64–68 (2025)

## Slide 16
Antiproton:
  First run: data collected between 28.12.2023 and 26.01.2024
  Second run: data collected between 22.12.2024 and 10.02.2025
Proton: measurement carried out May to July 2023
Statistical line center resolution at about 100 ppt precision - 15 times better.
Systematic studies ongoing (tough at this accuracy in the AD).
PRELIMINARY
Antiproton / proton measurements
 | 2016 | 2024/2025
FWHM | 2.5 Hz | < 200 mHz
Sigma (stat) | 123 mHz | < 10 mHz

## Slide 17
Possible based on 50s spin coherence time measurement
Measured subset of 2024/2025 with AD-OFF
FWHM: 200 mHz
Center: 70 ppt
FWHM: 20 mHz
Center: < 10 ppt
Plan: Magnetic moment measurement with single antiproton / proton:
  Phase sensitive cylotron frequency measurements:
  Phase sensitive detection in the AT
  Fast particle cooling in the CT
 Achieve 10 ppt precision
Future: Coherent single particle measurement
Inversion
Achieved coherence time of 50.2(4.8) s
frequency (Hz)

## Slide 18
While AD is running no high-precision Measurement possible.
The big limitation
AD fluctuations for 8 months of the year
 Use the upcoming long shutdown!
 Move antiprotons out of the antimatter factory

## Slide 19: Charge-to-Mass Ratio Measurements
Next precision goal is the p.p.t. level
 | AD/ELENA-ON | BASE best (AD/ELENA OFF) | BASE best (Offline Laboratory) | Best Penning Traps
Fluctuation | 2000ppt / 60mHz / 4nT (shielded) | 200ppt / 6mHz / 0.4nT | 200ppt / 6mHz / 0.4nT | 70ppt / 2.2mHz / 0.13nT
Precision goal | 2 ppt | 2 ppt | 2 ppt | 2ppt
Measurements | 1.000.000 | 10.000 | 10.000 | 820
Realistic Sampling | 23 years | 3 months | 3 months | 2.5 days
Total measurement time | > 1 lifetime of an Exp.Phys. | 3 years (AD) | 9 months | 2 weeks?

## Slide 20: BASE-STEP apparatus
Transport antiprotons from the only available source
Use in offline laboratories to multiply experiments on antiprotons
Crucial technology, not only for antiproton transport but also for future spectroscopy of .
Christian Smorra

## Slide 21: BASE-STEP apparatus
Open system for injection and ejection while keeping good vacuum
First proton transport in 2024 (Nature 641, 871–875 (2025))
Multi-trap-system for controlled separation

## Slide 22: BASE-STEP upgrades in 2025
BASE-STEP transported to Düsseldorf
Single-Proton
Precision Measurement
Clear potential for considerably improved experiments in the offline laboratories at HHU
April to August 2025: System Upgrades
December 2024 to February 2025

## Slide 23
2 Month of commissioning
and beam steering
14.10.2025: STEP connected to Beamline
BASE-STEP capture
December 2025: First antiproton capture in BASE-STEP
100 keV antiprotons from ELENA are injected into BASE-STEP
Degrader reduces kinetic energy to the keV range
Capture at these low energies by pulsing electric confining potentials.
Leonhardt, Morgner et. al. in preparation

## Slide 24
First Antiproton Road Transport

## Slide 25
Leonhardt, Morgner et. al. in preparation

## Slide 26
Leonhardt, Morgner et. al. in preparation

## Slide 27
24th of March 2026
First Antiproton Road Transport
92 antiprotons were successfully transported
Not a single antiproton lost
Excellent vacuum conditions
Leonhardt, Morgner et. al. in preparation

## Slide 28
Transport took place around the CERN campus
Took in total ~3 hours
Liquid Helium cooled
Connection to a cold head during transport planned in the future for long distance transport
24th of March 2026
First Antiproton Road Transport
Leonhardt, Morgner et. al. in preparation

## Slide 29
BASE–CERN  offline laboratory?!?
BASE–HHU:
  New generation of Penning-Trap experiments in commissioning
Antiprotons on the road 2027 and beyond

## Slide 30: Thanks for your attention

## Slide 32: Summary of SME limits by BASE
2022 Charge-to-Mass Ratio Measurement
Magnetic Moment Measurements
Coefficient | Limit
Coefficient | Limit
Coefficient | Limit
Coefficient | Limit