## Slide 1
50 mm
140 mm
Micromegas:
GEM +
CMOS ASIC
Thick GEM +
(THGEM)
OUTLINE:
RD51 Motivation and Main Objectives
RD51 Collaboration Activities and Results
(Large area MPGD developments, Software & Simulation,
SRS Electronics, CERN MPGD Production Facility & Industrialization, RD51 Test Beam Facility, Training)
RD51 Plans and Outlook
Maxim Titov, CEA Saclay, France
The RD51 Collaboration:
« Development of Micro-Pattern
Gas Detector Technologies »
Workshop LAL-Ukraine on instrumentation LAL Orsay, France, May 22-24, 2013

## Slide 2
1988
MSGC (ILL, A. Oed)
GEM (CERN, F. Sauli)
1996
MicroMEGAS (CEA Saclay, Y. Giomataris)
1997
2000
m-PIC (A. Ochi, T. Tanimori)
Capillary plate (Yamagata U., H. Sakurai)
1996
2005
2008
RD51
collaboration
InGrid
RD28
1992
MPGD Developments: Historical Roadmap*
From A.Ochi ADA2012@Kolkata (updated)
2003
LEM (Periale)
THGEM(Chechik)
(*Many more micro-pattern structures were developed;
only widely spread technologies are shown)

## Slide 3
Micromegas
GEM
Thick-GEM, Hole-Type Detectors and RETGEM
MPDG with CMOS pixel ASICs (“InGrid”)
Micro-Pixel Chamber (mPIC)
Electrons
Ions
60 %
40 %
Micromegas
GEM
THGEM
MHSP
Ingrid
0.18 mm CMOS VLSI
CMOS high density
readout electronics
Micro-Pattern Gaseous Detectors: Technologies for Future Projects
mPIC

## Slide 4
CERN MPGD workshop (10-11 September 2007)
Micro Pattern Gas Detectors. Towards an R&D Collaboration. (10-11 September 2007)
1st draft of the proposal presentation during Nikhef meeting (17 April 2008)
Micro-Pattern Gas Detectors (RD-51) Workshop, Nikhef, April 16-18, 2008
Gas detectors advance into a second century - CERN Courier
Proposal presentation in CERN/LHCC open session (2 July 2008)
94th LHCC Meeting Agenda (02-03 July 2008);
CERN‐LHCC‐2008‐011 (LHCC‐P‐011)
CERN/LHCC committee close session (24 September 2008)
Meeting with LHCC referees (23 September 2008); LHCC-095 minutes
2nd RD51 Collaboration meeting (Paris 13-15 October 2008)
2nd RD51 Collaboration Meeting (13-15 October 2008)
CERN Research Board approval(5 December 2008)
186th Research Board meeting minutes
4
RD51 Collaboration Milestones

## Slide 5
GEM
THGEM
RD51 Collaboration: “Development of MPGD Technologies”
80 institutes worldwide
~ 450 people involved
Representation (Europe, Asia
North/South America, Africa)
Kobe, Japan, September 2011
Bari, Italy, October 2010
The main objective of the R&D programme is to advance
technological development of Micropattern Gas Detectors
“RD51 aims at facilitating the development of advanced gas-avalanche detector technologies and associated electronic-readout systems, for applications in basic and applied research”
RD51 contributes to the LHC upgrades, BUT, the most important is:
RD51 serves as an access point to
MPGD “know-how” for the world-wide community
~ 85 institutes
~ 450 people involved
Representation (Europe, North America,
Asia, South America, Africa)
MPGD2011, the first conference
in the international series in Asia

## Slide 6
RD 51 Collaboration - Working Groups
“Transverse organization” of MPGD activities in 7 Working Groups
http://rd51-public.web.cern.ch/RD51-Public

## Slide 7
RD 51 Collaboration - Working Groups
“Transverse organization” of MPGD activities in 7 Working Groups
http://rd51-public.web.cern.ch/RD51-Public

## Slide 8
WG1: large area Micromegas, GEM; THGEM R&D; MM resistive anode readout (discharge protection); design and detector assembly optimization; large area readout electrodes and electronics interface
WG2: double phase operation, radiation tolerance, discharge protection, rate effects, single-electron response, avalanche fluctuations, photo detection with THGEM and GridPix
WG3: applications beyond HEP, industrial applications (X-ray diffraction, homeland security)
WG4: development of the software tools; microtracking; neBEM field solver, electroluminescence simulation tool, Penning transfers, GEM charging up; MM transparency and signal development, MM discharges
WG5: scalable readout system; Timepix multi-chip MPGD readout
WG6: CERN MPGD Production Facility; industrialisation; TT Network
WG7: RD51 test beam facility
Consolidation around common projects: large area MPGD R&D, CERN/MPGD
production facility, common electronics developments, software tools, beam tests
RD 51 Collaboration Organization
http://rd51-public.web.cern.ch/RD51-Public

## Slide 9
MPGD Training and Education Events
RD51
Feb. 2009 @ CERN: RD51 GEM & Micromegas & assembly and training
Jan. 2010 @
RD51 Simulation School
Contributions to the
EDIT School:
2011 @ CERN; 2012 @ Fermilab

## Slide 10
WG1: Large Area Detectors – “Bulk Micromegas” Technology
PCB
lamination
Mesh deposit
lamination
development
Bulk Micromegas:
ILC DHCAL (Large area MM 1m2 prototype:
(6 Bulk of 32 *48 cm2)
Since 2010: “Resistive Bulk Micromegas”
Technology
Spark neutralization and/or suppression
Resistive strip parallel to readout strips
Uniformity, robustness, easy fabrication,
large area detectors & small dead area
“Full path of industrial production”

## Slide 11
The readout is a multilayer flexible circuit on a polyimide substrate providing a 2-dim point with XV strips at 650 µm pitch
WG1: Large Area Detectors – Single Mask GEM Technology
Since 2009: Single Mask GEM:
Second
Polyimide
etching
Chemical
Polyimide
etching
Copper
electro etching
Stripping
Result
Large Area Cylindrical GEM Detectors for KLOE2 Tracker:
KLOE2: 3 GEM foils spliced (120 * 70 cm2)

## Slide 12
WG1: Large Area Thick-GEM for Photon Detection in COMPASS RICH 1
60 x 60 cm2 THGEM Prototypes
Novel Photon Detectors based on MPGDs offer:
Reduced photon and Ion backflow (IBF)
Intrinsically fast gaseous detectors
“Flower THGEM” configuration:
THGEM 1 - holes of 0.6 mm diameter, 1.2 mm pitch
THGEM 2 - holes of 0.3 mm diameter, 0.6 mm pitch, with 1/3 of the holes missing:
the ones below the THGEM 1 holes
This configuration
provides charge
splitting and allows
for ion backflow
minimization
Reduced IBF in triple THGEM:
  Aligned holes : ~ 20%
  Staggered holes : < 5%
  Flower configuration: 2 THGEM layers: <5%
THGEM
GENERIC
R&D:

## Slide 13
WG2: Physics Issues: Growing Demand for the Cryogenic MPGDs (LAr, LXe)
… MPGD are used/proposed for dark matter & rare event searches and neutrino physics

## Slide 14
WG3: MPGD Technologies for Energy Frontier (sLHC, LC)
 | Vertex | Inner Tracker | PID/ photo- det. | EM CALO | HAD CALO | MUON Track | MUON Trigger
ATLAS | GOSSIP/InGrid | GOSSIP/InGrid |  |  |  | Micromegas | Micromegas
CMS |  |  |  |  |  | GEM | GEM
ALICE |  | TPC (GEM) | VHPMID (CsI-THGEM) |  |  |  | 
Linear Collider |  | TPC(MM,GEM, InGrid) |  |  | DHCAL (MM,GEM,THGEM) |  | 
Ongoing R&D Projects using MPGDs in the framework of HEP Experiments
ATLAS Micromegas:
On a road to large-area detectors:
(1.2 * 0.6 m2)
CMS GEM:
Trapezoidal GEM Prototype (99 x 45-22 cm2)

## Slide 15
… not even a complete list …
WG3: Growing Demand for the Micro-Pattern Gaseous Detectors
COMPASS Upgrade:
Micromegas and GEM detectors for high-rate tracking
Photon Detectors Using THGEM technology for RICH 1
KLOE2 Upgrade:
Large-area cylindrical GEMs for Inner Tracker
RHIC Upgrades:
GEM Tracking for STAR Experiment
GEM Tracking for PHENIX Experiment(+ drift micro-TPC);
development of Ring Imaging version of HBD for particle ID
Future JLAB Projects:
Thin-Curved Micromegas for JLAB/CLAS12
GEM Tracker for JLAB/Hall A High Luminosity (SBS) experiments
Future FAIR Facility:
GEM Tracker and GEM TPC for the PANDA Experiment
GEM/Micromegas tracking in CBM Muon Chamber (MUCH)
Future Electron - Ion Collider Facility:
Tracking and particle ID detectors based on MPGD-technology
… MPGD are mostly used/proposed for high-rate tracking and photodetectors

## Slide 16
RD51
Cosmic Ray Muon Tomography
Using GEMs for Homeland security
WG3: Spin off is important key word for the HEP labs to survive …
Applications area will benefit from the technological developments developed by the RD51
The responsibility for the completion of the application projects lies with the institutes themselves
Technology
T2DM2: Temporal Tomography
Densitometric by the Measure of Muons
Liquid xenon detectors for functional medical imaging
Technology
CsI-RETGEM for UV
flame detection

## Slide 17
Focus on providing techniques for calculating electron transport in small-scale structures
The main difference with traditional gas-based detectors is that the electrode scale
(~ 10 mm) is comparable to the collision mean free path
RD51 WG4: MPGD Simulation Tools
1) Development and Maintenance of Garfield++: Garfield++ is a collection of classes for the detailed simulation of small-scale detectors.
Garfield++ contains: - electron and photon transport using cross sections provided by Magboltz - ionisation processes in gases, provided by Heed and MIP - ionisation and electron transport in semi-conductors - field calculations from finite elements, boundary elements, analytic methods - Magboltz cross sections (Ar, Xe, He, Ne; GeH4, SiH4, C2H2F4 ) are frequently
updated in collaboration with LXCAT (http://www.lxcat.laplace.univ-tlse.fr)
2) Simulation Improvements:
- Penning transfers; gain fluctuations; Neutron detection; Photon feedback; VUV fluorescence
3) Modeling for MPGD Applications: - Micromegas transparency - GEM gain and charging up
- IBF for TPC Applications (e.g. ALICE GEM TPC)

## Slide 18
WG4: MPGD Simulation Tools (Avalanche Simulation in GEM)
Animation of the avalanche process
(monitor in ns-time electron/ion
drifting and multiplication in GEM):
electrons are blue, ions are red, the
GEM mesh is orange
ANSYS: field model
Magboltz 8.9.6: relevant
cross sections of electron-matter interactions
Garfeld++: simulate
electron avalanches
http://cern.ch/garfieldpp/examples/gemgain
Sven Dildick,
Heinrich Schindler,
Rob Veenhof

## Slide 19
WG4: GEM Charging-Up Simulation
Pedro Correia
Rob Veenhof
ANSYS: field model
Magboltz 9.0.1: relevant
cross sections of electron-matter interactions
Garfeld++: simulate
electron avalanches
Electric Field Intensity during
the charging-up process:
each iteration correspond to
the number of primary electrons
that already reached to the hole
Charging effects are much smaller after (100 – 150) *105 avalanches
 GEM gas gain stabilizes

## Slide 20
Physical Overview of SRS:
Scalability from small to large system
Common interface for replacing the chip
frontend
Integration of proven and commercial
solutions for a minimum of development
Default availability of a very robust and
supported DAQ software package
WG5: Development of Scalable Readout System (SRS) for MPGD
Development of a portable multi-channel readout system (2009-2012):
Scalable readout architecture: a few hundreds channels up to very large LHC systems (> 100 k ch.)
Project specific part (ASIC) + common acquisition hardware and software
Frontend hybrids:
so far all based on
APV25 chip, VFAT,
Beetle, and Timepix
being designed
FEC cards (common):
Virtex-5 FPGA, Gb-Ethernet, DDR buffer, NIM and LVDS pulse I/O, High speed Interface connectors to frontend adapter cards
ADC frontend adapter
for APV and Beetle chips
ADC plugs into FEC to make a
6U readout unit for up to 2048
channels

## Slide 21
WG6: CERN Workshop Upgrade for the MPGDs
Today, CERN-MPGD workshop is the UNIQUE MPGD production facility (generic R&D,
detector components production, Q&A quality control)
Future Upgrade of the workshop has been approved by CERN management (Nov. 2009):
New infrastructure to fabricate 2x1m Bulk Micromegas and 2x0.5 m GEMs is delivered to
CERN; installation to be completed in September 2012
Large Area Detectors: ATLAS Muon System Upgrade (Micromegas) and CMS Muon System
Upgrade (GEM) has been approved as “official R&D projects” (April/May 2012)
2009 RD51 Survey:
2012 Status/Machine Delivery:

## Slide 22
Example
Pooling of RD51 developments as a basis
for common technology offer:
WG6: MPGD Technology Offer for Industry
2007- 2013:
Technology Transfer – GEM licenses signed:
TECH-Etch, signed 06/03/2013
China Institute of Atomic Energy, signed 10/01/2012
Sci Energy, signed 06/04/2009
Techtra, signed 09/02/2009
CDT, signed 25/08/2008
PGE, signed 09/07/2007
Both CEA and CERN will be entitled to
grant licenses on Micromegas technology
(based on co-ownership agreement)
Licenses for ELTOS & CIREA for MM industrialization are under preparation
Scalable Readout systems:
Technology Transfer - MM license:

## Slide 23
WG6: MPGD Technology Industrialization
Technology Industrialization  transfer “know-how” from CERN workshop to
Industrial partners for MASS PRODUCTION
GEM Technology:
Tech-ETCH (USA, Boston)
Scienergy (Japan, Tokyo)
Techtra (Poland)
Micromegas Technology
TRIANGLE LABS (USA, Nevada)
ELTOS S.p.A. (Italy)
SOMACIS (Italy, Castelfidarco)
CIREA (France, CHOLET)
THGEM Technology: ELTOS S.p.A (Italy), PRINT ELECTRONICS (Israel)
POTENTIAL
PARTNERS:
2011 - 2012: Industrial test runs for GEM and Micromegas Technology
First evaluation of 10*10 cm2
GEM Foils and Bulk MMs
New Flex
Eltos

## Slide 24
WG7: Common Test Beam Facility at H4 SPS
2012: New beam telescope with 5 resistive-strip μmegas chambers with x-y readout,
250 μm strips, active area 9x9 cm2
+ SRS Readout
2012: 3-periods (14+14+13days)
(4 – 18 June, 9 – 23 July, 2 – 15 November)
Major WG7 organization & coordination efforts:
Y. Tsipolitis (NTU Athens) and E. Oliveri (CERN)
MM telescope
Common RD51 infrastructure: GEM and MMs beam telescopes, HV, gas & power lines …

## Slide 25
2011
3-periods (9+12+6 days)
CMS-GEM 3-periods
JLAB-GEM 1-period
TOTEM-GEM 3-periods
COMPASS-THGEM 2 periods
DHCAL-THGEM 1 period
CALICE-umegas 1 period
GEM-TRT 1 period
JLAB-GEM 1-period
DHCAL-THGEM 1 period
CALICE-umegas 1 period
CMS-GEM 3-periods
COMPASS-THGEM 2 periods
TOTEM-GEM 3-periods
GEM-TRT 1-period
RD51-GEM-telescope
RD51-umegas-telescope
WG7: Common Test Beam Facility at H4 SPS
~ 25 m

## Slide 26
Consolidation around common projects: large area MPGD R&D, CERN/MPGD
production facility, common electronics developments, software tools, beam tests
RD 51 Collaboration Organization
RD51
Large area (MM, GEM, THGEM)
Design optimization
(e.g. THGEM, Resistive MM)
“RD51 Common Projects”
(Generic R&D)
Software and
Simulation
MPGD SRS
Electronics
CERN MPGD Workshop
& Industrialization
RD51 Common
Test Beam Facility
WG5:
WG4:
WG1:
WG2:
WG7:
WG6: