## Slide 1: Network Configuration
Charles (Cal) Loomis & Mohammed Airaj
LAL, Univ. Paris-Sud, CNRS/IN2P3
24-25 October 2013

## Slide 2: Network
Networking is a crucial component of any cloud. It is needed so that users can actually access the cloud resources, but also needs to be configured to protect the cloud services.
The “correct” network configuration depends on the type of deployment (i.e. what users will be accessing it) and your site’s security constraints.
StratusLab does not use or require dynamic configuration of the underlying network.

## Slide 3: Network
Private Cloud
  Small number of known and trusted users, e.g. admins using a cloud for deploying site services.
  Can have single open network between physical machines hosting cloud services and running virtual machines
Public Cloud
  Larger number of users that are less trusted (either because of lack of admin experience or …)
  Minimum two different networks/VLANs: one for physical machines with cloud services, one for virtual machines
  Ideal if networks can also be physically separated (multiple cards, network bonding, etc.)

## Slide 4: Firewalls
Cloud Services
  Open access to service ports to site (private) or to world (public)
  Open internal service ports only to the necessary nodes
  Block access to all other ports from all nodes
Virtual Machines
  Open all ports to virtual machines by default
  Let users control access to VMs via internal firewalls

## Slide 5: Standard StratusLab Network Configuration
Features
  Support 3 specific use cases: public service (public), batch system (local), and BOINC-like worker (private)
  Requires only static configuration of network switches
  Usual services for VM network configuration
Implementation
  No API: manual, static configuration of network
  Recommended config.: separate VM and cloud services networks
  All classes of IP addresses are optional, can create other classes
  Uses DHCP for VM network configuration
  Users responsible for protecting their machines

## Slide 6: Network
Configuration
  Network configuration usually achieved through switch routing rules.
  Public addresses: standard public IPv4 and/or IPv6 addresses
  Local and private addresses: 10.x.x.x and/or 192.168.x.x addresses
  Need to have 1 address for every (potentially) running VM!
DHCP
  Need to have all addresses allocated to VMs via DHCP
  DHCP server must be visible from VM, with datagram packets
  Usual (arbitrary) mapping: x.y.z.q to 0a:0a:x:y:z:q
DNS
  All addresses must have names
  Reverse lookup must work

## Slide 7: Limited Number of Public IPs?
Port Address Translation
  StratusLab does support PAT
  When used, front end acts as interface to VM nodes
  Conserves real public IP addresses
  Large data transfers can make frontend a bottleneck

## Slide 8: Exercises
Determine the network ranges you’ll use for each network type
Ensure that DNS server is configured (forward and reverse)
If using external DHCP, ensure it is also properly configured

## Slide 9: Questions and Discussion
website | http://stratuslab.eu
twitter | @StratusLab
support | support@stratuslab.eu
StratusLab source | http://github.com/StratusLab
SlipStream source | http://github.com/slipstream