## Slide 1
MPGD, RD51 and Pixel Readout for the ILC TPC
Maxim Titov
CEA Saclay, France
Ingrid
Pixel readout of the ILC TPC Project:
University of Bonn: Y. Bilevych, C. Brezina, K. Desch, J.
Kaminski, T. Krautscheid, C. Krieger, M. Lupberger
NIKHEF: Jan Timmermann
CEA Saclay: David Attie, Xavier Coppolani, Andrii
Chaus, Paul Colas, Maxim Titov
LAL Orsay (S. Barsuk)
Kyiv University (O. Bezshyyko group) – part of the RD51
collaboration together with LAL Orsay
French-Ukrainian Instrumentation Workshop, Paris, France, Oct. 1-3, 2014

## Slide 2
Micromegas
GEM
Thick-GEM, Hole-Type and RETGEM
MPDG with CMOS pixel ASICs (“InGrid”)
Micro-Pixel Chamber (mPIC)
Electrons
Ions
60 %
40 %
Micromegas
GEM
THGEM
MHSP
InGrid
Micro-Pattern Gaseous Detector Technologies for Future Physics Projects
mPIC
Rate Capability:
MWPC vs MSGC

## Slide 3
High Rate Capability
High Gain
High Space Resolution
Good Time Resolution
Good Energy Resolution
Excellent Radiation
Hardness
Ion Backflow Reduction
Photon Feedback
Reduction
Micromegas
GEM
Micromegas
2x106 Hz/mm2
GEM
GEM
Why Micro-Pattern Gaseous Detectors are so attractive …
s time ~ few ns
sspace ~ 15-40 mm
One of the recent reviews describing
the progress of the RD51 collaboration:

## Slide 4
1988
MSGC (ILL, A. Oed)
GEM (CERN, F. Sauli)
1996
MicroMEGAS (CEA Saclay, Y. Giomataris)
1997
2000
m-PIC (A. Ochi, T. Tanimori)
Capillary plate (Yamagata U., H. Sakurai)
1996
2005
2008
RD51
collaboration
InGrid
RD28
1992
Historical Roadmap of the MPGD Technologies and RD51 Collaboration
2003
LEM (Periale)
THGEM(Chechik)
Many of the Micro-Pattern Gaseous Detector Technologies were introduced before
the RD51 Collaboration was founded
With more techniques becoming available (or affordable), new detection concepts
are being introduced and the existing ones are substantially improved

## Slide 5
RD51 – Development of Micro-Pattern Gaseous Detector Technologies
World-wide Collaboration for the
MPGD Developments 
RD51 (91 institute, > 500 people):
Large Scale R&D program to advance MPGD Technologies
Access to the MPGD “know- how”
Foster Industrial Production
The main objective is to advance MPGD technological development and associated electronic-readout systems, for applications in basic and applied research”
1998
2014
Advances in photolithography 
Large Area MPGDs (~ m2 unit size)
http://rd51-public.web.cern.ch/rd51-public
A fundamental boost is offered by RD51: from
isolate MPGD developers to a world-wide net

## Slide 6
RD51
Large Area Detectors
Assembly Optimization
RD51 Common Projects
Generic R&D, QA
Long Term Stability
Software Tools and
Simulations
MPGD Electronics
CERN MPGD
Workshop,
Quality Control
and Industrialization
RD51 Common
Test Beam and Lab Facilities
WG5:
WG4:
WG1:
WG2:
WG7:
WG6:
Conferences / Schools
Academia-Industry
Matching Events
Future RD51 Collaboration Activities
WG3/NEW WG:

## Slide 7
Pixel Readout for Time Projection Chamber at the ILC or CLIC
MPGDs are foreseen as TPC readout for ILC
or CLIC (size of endcaps of ~ 10 m2):
Standard pads (1x 6 mm2): 8 rows of detector
modules (17×23 cm2); 240 modules per endcap
Pixel (55x 55mm2): ~100-120 chips per module
→ 25000-30000 per endcap
Potential advantages of pixel TPC (55x 55mm2):
 very good point + momentum resolution
 dE/dx via cluster counting
 frontend electronics automatically integrated (‘active endplate’)
Potential concerns:
 diffusion will limit resolution (gas!):
how small is necessary?
 cost ?
stable operation possible ?
Demonstrate operability of the concept;
Measure & understand (details of) charge cloud
Backgrounds in
CLIC TPC requires
very small pixels
(< 1x1 mm2)
CLIC TPC
Simulation
(M. Killenberg)

## Slide 8
Each pixel can be set to:
● TOT ≈ integrated charge
● TIME = Time between hit and shutter end
“InGrid” Concept:
Protection Layer (few mm)
50 - 80 mm
(e.g. Si3N4)
(e.g. SU8)
Bump bond pads for Si-pixel Detectors - Timepix or Medipix2 (256 × 256 pixels of size 55 × 55 μm2) serve as charge collection pads.
3D Gaseous Pixel Detector  2D (CMOS pixel chip readout) x 1D (drift time)
Integrated Electronics: Pixel Readout of Micro-Pattern Gas Detectors
Through POST-PROCESSING INTEGRATE
MICROMEGAS directly on top of CMOS chip

## Slide 9
Going to Larger Areas: “Octopuce” Modules based on the 2 x 4 Timepix ASICs
Saclay
Bonn
2010: Saclay / NIKHEF “Octopuce” (InGrid): studies with X-Rays and at DESY e- beam
2012-2013 : 2 Saclay / NIKHEF “Octopuce”(InGrid): 1 - some issues with readout; 2 - OK
2013: 2 Bonn “Octoboards” (InGrid & 3-GEM): studies with RD51 SRS at DESY e- beam
4 Timepix ASICs
InGrid
3 GEM
“Octopuce”
/ InGrid
Bonn/ InGrid
Image from
Bonn/“Octoboard”
(5 GeV e-):
InGrid: each electron
avalanche
corresponds to
single pixel hit
Single point resolution vs
drift distance (Octopuce / InGrid):
Bonn/ InGrid

## Slide 10
Octoboard
Kyiv University Simulations (autumn 2013 – spring 2014)
Board
Periphery
Mesh
HV contact
Bakelite
Metal on top
Anode plate PCB
Chip carrier PCB
O.Bezshyyko, 2-nd French-Ukrainian workshop on the instrumentation developments for HEP, October 1-3, Orsay
See O. Bezshyyko
presentation on Oct. 1

## Slide 11
Saclay “Octopuce’s”: Study of Uniformity with X-Rays & Cosmics
Uniform irradiation with X-Rays
Simulation
(Kyiv Univ.)
DATA:
Electric field configuration
Single electron sensitivity ~ 100 % (in the central areas of the chips)
Work is ongoing to better understand & improve field distortions in-between and at the borders of “InGrid’s (based on simulation)
RD51-NOTE-
2013-002
Octopuce 1
Cosmics DATA:
Octopuce 3

## Slide 12
Future Plans: Pixel Readout of MPGD - Proof-of-Principle of Si-TPC
Mid-term plan (3 years):
Develop and equip a full
LCTPC module (~100 chips)
with “InGrid”s, using
“Octopuce” module as
the basic building block
Pixel LC-TPC Consortium: Bonn, Saclay, NIKHEF, DESY, LAL, Kyiv University
Improved mass production of “InGrid”s (less dead area, higher yield, protection)
Minimize field distortions in the « Octopuce » plane; work on more realisitic cooling and power pulsing
Develop simulation chain to compare momentum resolution, double track resolution, dE/dx and pattern recognition to pad-based readout and to optimize the geometry
Experimental dE/dx study by cluster counting using InGrid at the LAL/PHIL facility

## Slide 13
Trajectories in the field. Shielding [cm]
0Tl 1TL 4Tl
O.Bezshyyko, 2-nd French-Ukrainian workshop on the instrumentation developments for HEP, October 1-3, Orsay
See O. Bezshyyko
presentation on Oct. 1

## Slide 14
Pixel Readout for LC TPC: Next Steps
Short-Term Plans:
Improve SU8-based « InGrid « structure (less dead area, higher yield, protection)
Better understand and improve field distortion issues at the « InGrid » plane
(in between chips and at the borders of the Octopuce);
Develop simulation chain to compare momentum resolution, double track resolution, dE/dx and pattern recognition to pad-based readout and to optimize the geometry (e.g. minimize the needed chip coverage)
Long-Term Plans:
Improved chip functionality  Timepix3  transfer InGrid process to Timepix3
Adapted readout system  high-speed SRS readout for Timepix(3)(8 &100 chips);
Improved mass production of InGrids  in collaboration with IZM, Berlin
Work on more realistic cooling and power pulsing;
Develop a backside connection technology both for LV/data and for the HV;

## Slide 15
Irfu – LAL – Kyiv Cooperation: Present and Future
Kyiv University made a major contributions towards optimization of geometry of large-area
“InGrid” Detectors (Garfield ++ simulations) within the ILCTPC-Pixel Collaboration:
Effect of geometry deviations
Effect of gaps
between chips
LAL/Kyiv U/IRFU/CERN
Cooperation on LEETECH
Platform / PHIL @ LAL:
Magnet (CERN) + Collimators
(Kyiv University)
Ultimate goal is to develop experimental setup with “InGrid” Detectors @ Kyiv
university (optimization of detector characteristics and educational setup)

## Slide 16
O.Bezshyyko, 2-nd French-Ukrainian workshop on the instrumentation developments for HEP, October 1-3, Orsay
1. Simulation of geometry for 100 chip module (96=12х8)
2. Development of test platform for Micromegas detector at the Nuclear Physics Department Kyiv University (in Ukraine)
?
Detector setup
Gas supply system
Power supply
DAQ - ADC
Gas storage
PC
Kyiv University in the Pixel Consortium: Present and Future
See O. Bezshyyko presentation on Oct. 1