## Slide 1: Update on Optical Modelling
Créidhe O’Sullivan, Stephen Scully, Donnacha Gayer, David Burke at Maynooth
Marco De Petris and colleagues at Roma

## Slide 2
Reminder: Optical design of the beam combiner
Optical analysis of the beam combiner performance
methods
instrument PSF
dual-band operation
Next?
Outline

## Slide 3
beams superimposed on the focal plane
re-emitting horn array
sky horn array
sky
imaging optics
(beam combiner)
QUBIC operates as a Fizeau interferometer: the beams from an array of back-to-back horns at the entrance aperture are superimposed on a focal plane by the beam combiner.
Each pair of horns produces a fringe pattern on this focal plane (depends on baseline length and direction).

## Slide 4
Focal plane image for one baseline (pair of horns)
The combined fringe pattern is simply an image of the sky convolved with the synthesised beam of the instrument.

## Slide 5
beams superimposed on the focal plane
re-emitting horn array
sky horn array
sky
imaging optics
(beam combiner)
Optical Design
The combiner must be a focusing system (imager) so that beams from each of the re-emitting horns are superimposed on the focal plane.
In the absence of aberrations, equivalent baselines (same length and direction) produce identical fringe patterns.
This is a very fast optical system with a wide field-of-view.

## Slide 6
beams superimposed on the focal plane
re-emitting horn array
sky horn array
sky
imaging optics
(beam combiner)
traditional imager
Optical Design

## Slide 7
A compensated off-axis Gregorian design was chosen.
A further optimisation of the mirror surfaces was carried out with the aid of commercial ray-tracing.
Aberrations were expected to be an issue.
f = 300 mm
Optical Design

## Slide 8
Gaussian Beam Mode Analysis

## Slide 9
Physical Optics
MODAL (in-house-software tested against GRASP) is used to calculate beam patterns at various planes in the system.
GBM gives a good estimate of beam size but PO is needed, especially where beams are aberrated.

## Slide 11
Beam Footprint
footprint of 400 antenna beams on the secondary mirror (finite focal plane captures 72% of power)
r = 0.8w (72%)
r = w
r = 2w (99%)
beams
PO beam ‘edges’ added to CAD model

## Slide 12
Maps of the beam pattern from each of 400 input horns on the circular focal plane showing the effect of reducing mirror sizes to <420 mm
Once all the component sizes and locations are chosen, the 400 antenna beams are propagated through the system to the focal plane.

## Slide 14
Performance
We would like to produce diffraction-limited images over a 14° (later 12.9°) fov. We could not achieve this in the plane of asymmetry.
fringe patterns generated by two orthogonal 27.5-λ baselines (l 173) along and perpendicular to the plane of symmety

## Slide 15
Effect of aberrations is to reduce the fringe visibility
= 50

## Slide 16
Point Spread Function
FT

## Slide 17
Point Spread Function
no. of horns
separation of horns
on- and off-axis horn

## Slide 18
Point Spread Function

## Slide 19
Aberrations in the (14°) beam combiner result in a loss of sensitivity of 10%

## Slide 20
The slightly smaller beam of the later (12.9 ) design improves the performance of the combiner.
150 GHz
Point Spread Function

## Slide 21
Point Spread Function

## Slide 22
We reduced the size of the secondary mirror and added, in sequence, the cold stop, the dichroic and the blockages cause by the off-axis focal plane and associated electronics.
The addition of the optical components did not degrade the sensitivity of the instrument to any significant extent. The off-axis focal plane, did block power from a small number of horns and reduced the average power that reaches the focal plane by about 1%.

## Slide 23
Dual-Band Instrument
The design of the back-to-back horn antennas was changed from the original so that they could operate over 130 – 250 GHz

## Slide 24
Dual-Band Instrument

## Slide 25
The slightly smaller beam of the new design improves the performance of the combiner.
150 GHz single band
150 GHz dual band
220 GHz dual band

## Slide 26
Demonstrator: model warm mirrors (Zemax)
model room temp tests?
tolerance analysis
Multi-mode behaviour, choke
?
Wideband synthesised beam, including aberrations
Effect of near- vs far-field calibration source illumination of horns
Next