Technical developments for WISArD: New silicon detectors
Marcin Pomorski
CENBG, IN2P3, CNRS

---
New WISArD setup (design not finalized)

---
New silicon detector and pre-amp
- 300 μm, custom manufactured by micron
- Divided into 5 strips to reduce capacitance
- 100 nm dead layer
- Custom designed at LPC Caen
- Low noise, high density
- Will work in vacuum to minimize cables length

---
Validating prototype detector
- Determine detector-preamp resolution
- Find optimal detector temperature
- Measure dead layer thickness

---
Validating prototype detector
- Determine detector-preamp resolution
- Find optimal detector temperature
- Measure dead layer thickness

---
Measuring dead layer with AIFIRA
- Deal layer results in energy shift when changing angle
- AIFIRA excellent energy stability is ideal for this.

---
AIFIRA nano chamber

---
Energy shift and dead layer estimation
First
prototype
Second
prototype

---
Outlook
- Tests with radioactive sources
- Compatible movement stage
- Scanning measurement at AIFIRA
- Alternative pre-amp design to be tested