## Slide 1
Low divergence proton beams at
kHz repetition rate
WE I Z MANN
I NST ITUTE
OF SCIENCE
Dan Levy
12.5.22
GdR APPEL – Assemblée Générale 2022

## Slide 2
The team
Igor Andriyash
Stefan Haessler
Marie Ouillé
Jaismeen Kaur
Alessandro Flacco
Eyal Kroupp
Victor Malka
Rodrigo Lopez-Martens

## Slide 3
Acceleration from thin foils: diverging ion beams
Wilks et al., "Energetic proton generation in ultra-intense laser–solid interactions.“
Physics of plasmas (2001).
Credit: Josefine Metzkes-Ng
Ions
2001: TNSA
Beam divergence:

## Slide 4
Reducing beam divergence: 20 years of efforts
Toncian, T. et al. Science 312, 410–413 (2006).
Chen, M. et al.
Phys. Rev. Lett. 103, 024801 (2009).
Liu, M.-P. et al.
Physics of Plasmas 15, 063104 (2008).
Pae, K. H. et al.
Plasma Phys. Control. Fusion 62,
055009 (2020).
Kar, S. et al.
Nat Comm. 7, 10792 (2016).

## Slide 5
Reducing beam divergence: 20 years of efforts

## Slide 6
Reducing beam divergence: 20 years of efforts (and counting)

## Slide 7
Robust low-divergence ion source still in demand
.
.
.
Linz, U. & Alonso, J., Phys. Rev. Accel. Beams 19, 124802 (2016).

## Slide 8
Experimental setup @ Salle Noire (LOA)
Levy, Andriyash, Haessler, Kaur, Ouillé, Flacco, Kroupp, Malka & Lopez-Martens,
arXiv:2112.12581 (2021).

## Slide 9
The Salle Noire Laser
25–3.5 fs, 3.5 mJ, 1 kHz
>1010 contrast ratio

## Slide 10
Scanning Time-of-flight (TOF) detector measures the angular spectrum
TOF measurement
fits well to TP measurement

## Slide 11
TOF MCP was charge-calibrated using a ring-shaped faraday cup

## Slide 12
Acceleration best with shortest gradient possible, duration ~200 fs
Data from Thomson parabola spectrometer

## Slide 13
Low divergence proton beams at kHz rate
Experiment
Simulations
)WarpX)
4 fs
27 fs
200 fs
Proton beam: FWHM, up 0.5 MeV and 100 pC (100 nA average)

## Slide 14
Acceleration mechanism: expansion of surface proton disk
The laser pulls surface electrons (“Brunel electrons”) and pushes them into the overdense plasma which screens them.
A positive proton surface disk remains.
The disk expands into vacuum (“Coulomb explosion”).
Vacuum
Interaction layer
Angle [degrees]
Proton energy [keV]
Overdense plasma

## Slide 15
A simple analytical model was developed
The laser evacuates surface electrons up to some point , where the radiation pressure is balanced by the electrostatic pressure.
The accelerating field can be estimated using Poisson’s equation. Assuming a thin positively charged disk,
The equation of motion for the accelerated protons is solved numerically, treating them as “test particles” accelerated in the field.

## Slide 16
The model agrees well with experiment

## Slide 17
A promising source of low-divergence proton beams @ kHz
Robust: demonstrated at wide range of laser and plasma parameters
Scanning TOF detector + kHz laser allows fast measurements
Acceleration process revealed in simulations and model
Further exploration and characterization
Experiment with joule-class lasers
Potential applications: radio-isotope production for medical use (enabled with few MeV)
Conclusions
Summary
Perspectives

## Slide 18
Merci de votre attention