## Slide 1
Combination of fluorescence FRET microscopy and optical tweezers for mechanical studies on living cells
Camille Dubois
Biophotonics group, Laboratoire Charles Fabry, Institut d’Optique
Under the supervision of Nathalie Westbrook
SFP
7 juillet 2023
Ludivine Houel-Renault
Marie Erard
Nada Boustany

## Slide 2
Focal adhesions on adherent cells
Focal adhesion
talin
integrin
vinculin
actin
Cell membrane
extra-cellular matrix
Introduction :
Shear
Compression
Traction
Cell migration
Gravity
Cells experience forces : External forces and cell-generated forces (cell migration, contraction)
Mechanotransduction : mechanisms by which cells convert a physical force into a biochemical signal
Tension sensor localized on vinculin
extra-cellular matrix
Diseases :
Abnormal mechanotransduction signalling can induce cancer
Cancerous cells have different adhesion
Involved in :
Senses (hearing, touch,…)
Regulating forces and tension within the body (muscle tension or blood pressure regulation)
Embryonic development
Cancer

## Slide 3
Efficiency
Grashoff 2010
Force tension sensor :
High FRET :
Low FRET :
Donor
Acceptor
R
Donor
Acceptor
R
F
F
Excitation
Emission
Förster Resonance Energy Transfert (FRET) :
FRET Efficiency :
Excitation transfer between to two fluorophores in close proximity
R
Excitation
Emission
Donor
Acceptor
Ex
Em
Ex
Em
Spectral overlap
Donor
Acceptor
Intensity
Wavelength
Measuring forces using fluorescence FRET microscopy
3
Förster distance
Typ around 1 and 10 nm
Single-molecule in-vitro calibration curve

## Slide 4
Microscope objective
100x NA=1,3
Cells expressing tension sensor + beads
FRET efficiency measurement
 | Camera D | Camera A
LED D 440 nm |  | 
LED A 520 nm |  | 
Camera : phase contrast imaging
Halogen lamp
Acceptor fluorescence intensity when donor is excited
Donor
Acceptor
excitation
detection
VinTS
FRET Efficiency
0.35
0.3
0.25
0.15
0.2
0.1
Calibration +
image processing
Extraction of FRET efficiency
DD
AA
DA
Laser 1069 nm
Optical Tweezer
Optical tweezer detection
LED Donor@440 nm
LED Acceptor@520 nm
FRET excitation
or
Camera D : fluo 480-530
Camera A :
fluo 535-590
Emission filter 2
Emission filter 1
FRET detection

## Slide 5
Tension sensors on CHO cells
Chart: FRET Efficiency
| VinTL | VinTS
Paris-Saclay | 0.31893 | 0.22677
***
0.35
0.3
0.25
0.15
0.2
0.1
VinTL
FRET Efficiency
VinTS
0.35
0.3
0.25
0.15
0.2
0.1
➜ Lower FRET efficiency with tension sensor compared to control
Chart: FRET Efficiency
| PDL | FN | PDL | FN
 | 0.3185 | 0.3177 | 0.2509 | 0.2392
VinTS
VinTL
***
***
Poly-D-lysine (PDL) or Fibronectine (FN)
Rutgers : Different coverslip treatments
CHO-K1, 60 cells (VinTL) and 87 cells (VinTS)
➜ The control is insensitive to coverslip treatment
➜ Tension sensor is sensitive to change in cell adhesion
➜ Coherent with published values
(Li 2019, Gates 2019, Rothenberg 2015, Dumas 2019)
VinTL
Control
VinTS
Tension sensor

## Slide 6
Application of a localized force controlled in direction and in amplitude
Functionalized bead
Cell expressing force sensor
Objective : Apply a calibrated force using an optical tweezer and measure forces on vinculin via FRET
Vinculin
Combination with optical tweezer
Optical tweezer

## Slide 7
Preliminary results with optical tweezer
Bead displacement over 5min
t
10µm
10µm
Chinese hamster ovary (CHO)
Human Primary Dermal Fibroblast (HDFn)
t
Change of cell type
Vinculin accumulation
Fluorescence image of a cell expressing vinculin tension sensor
1µm
Cells are pulling on beads
Focal adhesions are formed around beads
Force exerted by the cell on the bead
VinTS efficiency
VinTS efficiency
bead
HDFn
HDFn

## Slide 8
Conclusion and perspectives
FRET measurement gives access to tension on vinculin localized at focal adhesions
Formation of focal adhesions on beads
Measured force exerted by a cell on a bead as a function of time
Correlate tension on vinculin and force exerted on the bead
Perspectives :

## Slide 9
LED D
440 nm
Excitation filter 2
LED A
505 nm
Excitation filter 1
DBS 1
DBS 2
D=1,2
FRET excitation
Imaging filter 590
Camera 3 : phase contrast imaging
Phase shift ring
Optional filter (stop 1069 nm)
Halogen lamp
1069 nm, 150 to 600 mW
Microscope objective
100x NA=1,3
QPD
1069 bandpass filter
DBS 3
Cellules exprimant le couple FRET + billes
Camera 4 :
interference pattern
D=1
D=1
Optical Tweezer
Donor
mTFP1
Acceptor
Venus
Chart: Wavelength (nm)
Experimental setup
Camera D : fluo mTFP 480-530
Camera A :
fluo Venus 535-590
DBS 6
DBS 5
Emission filter 2
Emission filter 1
Nikon tube lens
LT =
FRET detection
Annex :