## Slide 1
Emmanuel Clément (GANIL)
submitted to NIM A

## Slide 2
Detection setup
Acquisition system
136Xe / 238U
Scaled X0.5
40°
PLF
Focal plane
198Pt
AGATA 39 crystal
As Compact configuration as possible
Full PID
Of PLF
TLF
55°
2nd arm + EXOGAM  TLF tagging
ms Isomer
A, E* measurement
E806 : Spectroscopy in the vicinity of N=126 from MNT 136Xe+198Pt
Second Arm Detection
Delayed g-ray spectroscopy
AGATA + VAMOS 2021 – Heavy Ions
E810 : Production of Neutron rich nuclei using MNT 238U+238U.
D. Ackermann et al.
Detection of U-like in VAMOS
X-ray detection AGATA + LEPS
Motivations :
AGATA response function < 100 keV
Emmanuel Clément (GANIL)

## Slide 3
PHYSICAL REVIEW C 92, 024619 (2015)
Light and heavy transfer products in 136Xe + 238U multinucleon transfer reactions
A. Vogt et al.,
Emmanuel Clément (GANIL)

## Slide 4
PHYSICAL REVIEW C 92, 024619 (2015)
Light and heavy transfer products in 136Xe + 238U multinucleon transfer reactions
A. Vogt et al.,
?
?
Emmanuel Clément (GANIL)

## Slide 5
The g-rays with E< 100keV mainly interact with a single photo-electric effect in the first layer of the detector where the electric fields are the most complex
The mean free path of 100 keV photons in Ge is mm, well below the first AGS step
PSA answer will be wrong.
Tracking will not do miracle
How bad are we ?
Can we correct easily ?
 Scan in energy from 15 keV to 1.4 MeV
Goal of the study :
Emmanuel Clément (GANIL)

## Slide 6
November 2020 source measurement:
24 AGATA crystals
In nominal
+ all usual lines
Mono energetic sources
+ 145 keV
+ 279 keV
+ 391 keV
7 days data taking
All data on GRID
Emmanuel Clément (GANIL)

## Slide 7
141Ce
Emmanuel Clément (GANIL)
Present statement

## Slide 8
Data
Geant4
Accepted events are in the first ADL step
PSA returns a flat « random » Z distribution
Clustering on the sides
Emmanuel Clément (GANIL)

## Slide 9
Emmanuel Clément (GANIL)
121 keV
1408 keV
In slice 1, there is no slice « 0 »
From B. de Canditiis et al, EPJA 57, 223 (2021)

## Slide 10
All « core » Normalized
hitE/coreE0
Emmanuel Clément (GANIL)

## Slide 11
All « core » Normalized
Core AddB / core
Emmanuel Clément (GANIL)

## Slide 12
All « core » Normalized
OFT/core
OFTsmearing / core
Emmanuel Clément (GANIL)

## Slide 13
All « core » Normalized
Acting on Post-PSA
(if MulSeg==1 && E < 100 keV,
&& Z < 10 mm)
Force all to 1 mm
Emmanuel Clément (GANIL)

## Slide 14
All « core » Normalized
Acting on Post-PSA
(if MulSeg==1 && E < 100 keV,
&& Z < 10 mm)
Force all to 1 mm
Force all to 0.5 mm ▲
+ Force < 40 keV to 0.1mm ■
+ Force < 40 keV to 0.01 mm ○
Emmanuel Clément (GANIL)

## Slide 15
Emmanuel Clément (GANIL)
141Ce
The low efficiency of AGATA at very low energies is not a tracking problem
It is a PSA problem
No slice 0 (but it is life)
More noisy signal after normalization
A fix in the post-psa was tested
Can Neural Network and auto-encoder reduce the noise ?